## Slide 1: Percutaneous Vertebral Augmentation ICD-9-CM Coordination & Maintenance Committee Meeting September 27, 2007
Dr. Chetan Patel Attending Surgeon, Spine Surgery William Beaumont Hospital

## Slide 2: Code History
Through 2004, there were no specific codes for vertebroplasty and kyphoplasty
General code 78.49 was utilized to report procedures
New codes for vertebroplasty and kyphoplasty were discussed at the April 1, 2004 meeting of the ICD-9-CM Coordination & Maintenance Committee
    There was general support for new and separate codes to capture the two procedures
    Concern was expressed that the proposed inclusion term for inflatable balloon could lead coders to believe the proposed kyphoplasty code applied only to one manufacturer’s product
    Comments were also made suggesting that inclusion terms clarify the fact that kyphoplasty procedures do not reduce the fracture but rather simply attempt to restore some of the height lost because of the fracture

## Slide 3: Code History
For FY 2005, separate codes were created to differentiate vertebroplasty and kyphoplasty procedures:
81.65 Vertebroplasty
Injection of bone void filler (cement) (polymethylmethacrylate) (PMMA) into the diseased or fractured vertebral body
kyphoplasty (81.66)
81.66 Kyphoplasty
Insertion of inflatable balloon, bone tamp, or other device to create a cavity for partial restoration of height of diseased or fractured vertebral body prior to injection of bone void filler (cement) (polymethylmethacrylate) (PMMA)
vertebroplasty (81.65)
Excludes
Excludes

## Slide 4: Boundaries of 81.66
Since the adoption of code 81.66, additional techniques have been developed and approved to achieve vertebral augmentation, the effect of kyphoplasty
Current proposal is to broaden the nomenclature for code 81.66 to incorporate all vertebral augmentation techniques
81.66 Kyphoplasty
Insertion of inflatable balloon, bone tamp, or other device to create a cavity for partial restoration of height of diseased or fractured vertebral body prior to injection of bone void filler (cement) (polymethylmethacrylate) (PMMA)
vertebroplasty (81.65)
Excludes

## Slide 5: Issue
Code 81.66 current nomenclature refers to a specific technique using a proprietary device from a particular manufacturer
  Kyphoplasty refers specifically to vertebral augmentation performed with a specific manufacturer's balloon product
  Kyphon + arthroplasty = Kyphoplasty
  The inclusion terms cite other devices but the code definition restricts this
  ICD-9-CM convention is that codes are not exclusive to a particular manufacturer or product

## Slide 6: Issue
The inclusion note for code 81.66 states the procedure creates “a cavity”
  The manufacturer considers the creation of “cavities” or “voids” proprietary to its product
The inclusion notes indicate that the procedure is performed for partial restoration of height to the vertebral body
  There is clinical uncertainty over whether height restoration is achieved, though it may be a goal
  Augmentation and height restoration are two separate clinical issues

## Slide 7: Conventional Vertebroplasty
Single step procedure
Cement is injected under high pressure
Cement follows natural fracture lines
Stabilizes fracture to reduce pain

## Slide 8: Vertebral Augmentation
Two step procedure
  The vertebral body is augmented using a mechanical device to create spaces within the bone
  Cement is subsequently injected into the vertebral body under low pressure
Cement flow is directed into the space/cavity/void created within the vertebral body
Stabilizes fracture to reduce pain
  Height restoration may also be accomplished
A variety of techniques are used to perform
percutaneous vertebral augmentation

## Slide 9: Kyphoplasty
www.kyphon.com

## Slide 10: Spineoplasty
Optimesh® by Spineology
Step 1: A cavity is created in the defect through a small tube with a proprietary expanding shaping tool
Step 2: The mesh is inserted empty through the tube
Step 3: The mesh is filled with bone filler and released
www.spineology.com

## Slide 11: StaXx® FX System
StaXx® FX System by Spine Wave, Inc.
www.spinewave.com

## Slide 12: SKyphoplasty
SKy Bone Expander® by Disc-o-tech
www.disc-o-tech.com

## Slide 13: Technique Snapshot
Spineoplasty
Kyphoplasty
SKyphoplasty
StaXx FX System
Percutaneous Vertebral
Augmentation
Other techniques are available

## Slide 14: Proposed Code Revision
Revise the definition of 81.65 from “vertebroplasty” to “percutaneous vertebroplasty”
Revise the definition of 81.66 from “kyphoplasty” to “percutaneous vertebral augmentation”
  Procedure is performed percutaneously
  Procedure augments the vertebral body
  Percutaneous vertebral augmentation is the generic terminology used by medical professionals to describe this technique