## Slide 1: Measurement of Intra-sac Pressure in an Aneurysm Following EVAR
Sean P. Roddy, MD
Member, Health Policy Committee
Society for Vascular Surgery
Associate Professor of Surgery, Albany Medical Center
Notes: <number>
<footer>
<header>
<date/time>

## Slide 2: Aortic Aneurysms
Occur when a weak area of the aorta expands or bulges
  Abdominal Aortic Aneurysm (AAA)
  Thoracic Aortic Aneurysm (TAA)
~65,000 aneurysms repaired annually
Two potential treatments
  Open repair
  Endovascular aneurysm repair
    EVAR
    TEVAR

## Slide 3: Endovascular Aneurysm Repair (EVAR)
EVAR accounts for the majority of aneurysm repair surgeries
  Decreased complications / morbidity vs. open surgical repair
Potential EVAR complications
  Endoleaks
  Graft migration

## Slide 4: Endoleaks – The Challenge
Inadequate Seal | Collateral Vessel | Dislodged or Torn Limb | Fabric Weeping
Image courtesy of T. Ohki, MD.
Notes: <number>
<footer>
<header>
<date/time>

## Slide 5: Wireless pressure sensors were recently introduced to help identify successful aneurysm exclusion following endovascular aneurysm repair (EVAR).
Proximal Seal
Distal Seal
Entry site of Catheter
Cleared by FDA in November, 2005
Angiography/CTA provide images which are not definitive about the existence, location or type of leak
  Safety – radiation, contrast toxicity
  Cost
  Inconvenience (every 6 months)
Measuring sac pressure provides evidence for successful aneurysm exclusion which should translate into long-term graft stability1,2
1Treharne, et al., 1999
2Dias et al., 2004
Notes: <number>
<footer>
<header>
<date/time>

## Slide 6: Intra-arterial pressure sensor and electronic monitoring equipment

## Slide 7
Measuring Intra-Sac Pressure
Intra-arterial pressure sensors are indicated for measuring intra-sac pressure during endovascular abdominal aortic aneurysm (AAA) repair or thoracic aortic aneurysm (TAA) repair
Pressure readings taken during the EVAR procedure:
  Pre-exclusion
  Post-exclusion

## Slide 8
Pre Exclusion=70mmHg
Pre Balloon=17mmHg
Post Balloon=11mmHg

## Slide 9
Patient Selection Criteria
Currently, EVAR patients with higher risk anatomy or concern after deployment of the main body device
As better data is collected, a broader indication may be reasonable

## Slide 10: Surgical placement of pressure measurement sensor
Two potential approaches
  Contralateral (recommended)
  Ipsilateral
Determined by endograft type, patient anatomy, vessel conditions, etc.

## Slide 11
Recommended surgical approach
Attain bilateral guidewire access.
Insert main body of stent graft.
Insert sheath on contralateral side.
Use wire to locate gate.
Insert additional wire through contralateral sheath next to gate wire and advance into sac.

## Slide 12
Recommended surgical approach
Insert sensor over guidewire through contralateral sheath and advance into sac.
Calibrate sensor and take first reading.
Remove contralateral sheath over sensor catheter and gate wire, maintaining sensor position.
Introduce contralateral graft limb (or limb delivery sheath) over gate wire.
Deploy contralateral limb and fix graft.
Take final sensor reading.
Confirm sensor position, release sensor and remove sensor delivery catheter.

## Slide 13: Key Documentation Points
Physician includes in dictation:
Procedure performed in operating room
Placement of pressure measurement sensor
Use of external electronic monitoring equipment to measure pressure/verify appropriate placement of graft
Notes: <number>
<footer>
<header>
<date/time>

## Slide 14: Data Issues
Lack of specific ICD-9-CM codes for placement of a pressure measurement sensor and monitoring intra-arterial pressure during endovascular repair of an aneurysm creates ongoing data issues:
  Inability to track procedures clearly in the encoded data
  Inability to differentiate EVAR procedures that use pressure measurement sensors
  Inability to review and analyze data specific to these procedures
Notes: <number>
<footer>
<header>
<date/time>

## Slide 15: Questions?

## Slide 16: Measurement of Intra-sac Pressure in an Aneurysm Following EVAR
Thank you.
Notes: <number>
<footer>
<header>
<date/time>